## Schedule of Rates
SHTN 00-01 Appendix D
Schedule of Rates - Statutory items 1Q (March) 2024 | [5 empty] | Schedule of Rates
List and Methodology | [5 empty] | V2.0
To be read in conjunction with the main Schedule of Rates (Appendix C) | [5 empty] | Updated to March 2024
All costs to be reviewed with Estates Department, due to specialist nature of works, and particular circumstances which may exist
2.0 - Control of Substances Hazardous to Health (COSHH) Regulations 2002
Item | Description | Comments | Unit | Small building ( <1,000m2) | Medium Building (1,000 - 10,000m2) | Large building (>10,000m2) | Additional comments
2.01 | Is local exhaust Ventilation Required? | Fit extract fans into DSR rooms - cost per room - packaged unit. | No. | 2842 | 2842 | 2842 | Intentionally Blank
2.01 | Is local exhaust Ventilation Required? | Fit extract fans into DSR rooms - cost per room - domestic fan. | No. | 213 | 213 | 213 | Intentionally Blank
2.02 | Secure Storage | Fit lock to a door - cost per door | No. | 96 | 96 | 96 | Intentionally Blank
2.03 | PPE Storage and Changing | Wide variety of potential issues - review with Estates Dept/ main Schedule of Rates | Intentionally Blank | Intentionally Blank | Intentionally Blank | Intentionally Blank | Intentionally Blank
2.04 | WHB available | Install WHB | No. | 494 | 494 | 494 | Intentionally Blank
2.04 | WHB available | Install cleaners sink | No. | 706 | 706 | 706 | Intentionally Blank
2.05 | Signage | Apply screw fixed sign to a door stating 'Keep Locked'/ internal Safety signage - cost per DSR | No. | 64 | 64 | 64 | Intentionally Blank
4.0 - Lifting Operations and Lifting Equipment (LOLER) Regulations 1998 (incorporating Scottish Health Technical Memorandum (SHTM), 08-02 Lifts)
Item | Description | Comments | Unit | Small building (<1,000m2) | Medium Building (1,000 - 10,000m2) | Large building (>10,000m2) | Additional comments
4.01 | Lifting Operations and Lifting Equipment (LOLER) Regulations 1998 (incorporating SHTM 08-02 (Lifts)) | LOLER thorough examination report for all staff/ passenger lifting equipment | No. | 2046 | 2046 | 2046 | Where replacement required, refer to section 15.01 of main Schedule of Rates
5.0 - Workplace (Health, Safety and Welfare) Regulations 1992
Item | Description | Comments | Unit | Small building (<1,000m2) | Medium Building (1,000 - 10,000m2) | Large building (>10,000m2) | Additional comments
5.01 | Access | Wide variety of potential issues - review with Estates Dept/ main Schedule of Rates | Intentionally Blank | Intentionally Blank | Intentionally Blank | Intentionally Blank | Intentionally Blank
5.02 | Environmental | Wide variety of potential issues - review with Estates Dept/ main Schedule of Rates | Intentionally Blank | Intentionally Blank | Intentionally Blank | Intentionally Blank | Intentionally Blank
5.03 | Building Elements | Wide variety of potential issues - review with Estates Dept/ main Schedule of Rates | Intentionally Blank | Intentionally Blank | Intentionally Blank | Intentionally Blank | Intentionally Blank
5.04 | Engineering Elements | Wide variety of potential issues - review with Estates Dept/ main Schedule of Rates | Intentionally Blank | Intentionally Blank | Intentionally Blank | Intentionally Blank | Intentionally Blank
5.05 | Work Equipment/ Machinery | Wide variety of potential issues - review with Estates Dept/ main Schedule of Rates | Intentionally Blank | Intentionally Blank | Intentionally Blank | Intentionally Blank | Intentionally Blank
5.06 | Signage - H&S, Equality and Diversity | Wide variety of potential issues - review with Estates Dept/ main Schedule of Rates | Intentionally Blank | Intentionally Blank | Intentionally Blank | Intentionally Blank | Intentionally Blank
5.07 | Gas Storage | Provide external cage for storage of bottles | No. | 620 | 1238 | 2474 | Intentionally Blank
5.08 | Roof Lights | Replace non "Mansafe" rooflights | m2 | 868 | 868 | 868 | Intentionally Blank
5.09 | Safety Glazing | Replace non compliant glazing to doors/ partitions | m2 | 264 | 264 | 264 | Intentionally Blank
5.10 | Radiation Protection | Wide variety of potential issues - review with Estates Dept/ main Schedule of Rates | Intentionally Blank | Intentionally Blank | Intentionally Blank | Intentionally Blank | Intentionally Blank
6.0 - Personal Protective Equipment (PPE) at Work Regulations 1992
Item | Description | Comments | Unit | Small building (<1,000m2) | Medium Building (1,000 - 10,000m2) | Large building (>10,000m2) | Additional comments
6.01 | Personal Protective Equipment (PPE) at Work Regulations 1992 | Management issue - not applicable | Intentionally Blank | Intentionally Blank | Intentionally Blank | Intentionally Blank | Intentionally Blank
7.0 - Provision and Use of Work Equipment (PUWER) Regulations 1998
Item | Description | Comments | Unit | Small building (<1,000m2) | Medium Building (1,000 - 10,000m2) | Large building (>10,000m2) | Additional comments
7.01 | Provision and Use of Work Equipment (PUWER) Regulations 1998 | Management issue - not applicable | Intentionally Blank | Intentionally Blank | Intentionally Blank | Intentionally Blank | Intentionally Blank
8.0 - Lifting Operations and Lifting Equipment (LOLER) Regulations 1998 - (Lifting Equipment)
Item | Description | Comments | Unit | Small building (<1,000m2) | Medium Building (1,000 - 10,000m2) | Large building (>10,000m2) | Additional comments
8.01 | Lifting Operations and Lifting Equipment (LOLER) Regulations 1998 - (Lifting Equipment) | LOLER thorough examination report for all goods lifting equipment | No. | 2046 | 2046 | 3280 | Where replacement required, refer to section 15.02 of main Schedule of Rates
9.0 - Manual Handling Operations Regulations 2013
Item | Description | Comments | Unit | Small building (<1,000m2) | Medium Building (1,000 - 10,000m2) | Large building (>10,000m2) | Additional comments
9.01 | Manual Handling Operations Regulations 2013 | Management issue - not applicable | Intentionally Blank | Intentionally Blank | Intentionally Blank | Intentionally Blank | Intentionally Blank
11.0 - Management of Health and Safety at Work Regulations 1999 (Incorporating SHTM 2050)
Item | Description | Comments | Unit | Small building (<1,000m2) | Medium Building (1,000 - 10,000m2) | Large building (>10,000m2) | Additional comments
11.01 | Management of Health & Safety at Work Regulations 1999 (Incorporating SHTM 2050) | Management issue - not applicable | Intentionally Blank | Intentionally Blank | Intentionally Blank | Intentionally Blank | Intentionally Blank
12.0 - Construction, Design and Management (CDM) Regulations 2015
Item | Description | Comments | Unit | Small building (<1,000m2) | Medium Building (1,000 - 10,000m2) | Large building (>10,000m2) | Additional comments
12.01 | Construction, Design and Management (CDM) Regulations 2015 | Management issue - not applicable | Intentionally Blank | Intentionally Blank | Intentionally Blank | Intentionally Blank | Intentionally Blank
13.0 - Noise at Work Regulations (incorporating SHTM 08-01 Acoustics)
Item | Description | Comments | Unit | Small building (<1,000m2) | Medium Building (1,000 - 10,000m2) | Large building (>10,000m2) | Additional comments
13.01 | Building Solution | Wide variety of potential issues - review with Estates Dept / main Schedule of Rates | Intentionally Blank | Intentionally Blank | Intentionally Blank | Intentionally Blank | Intentionally Blank
13.02 | Engineering Solution | Wide variety of potential issues - review with Estates Dept / main Schedule of Rates | Intentionally Blank | Intentionally Blank | Intentionally Blank | Intentionally Blank | Intentionally Blank
13.03 | PPE Solution | Management issue - not applicable | Intentionally Blank | Intentionally Blank | Intentionally Blank | Intentionally Blank | Intentionally Blank
14.0 - Display Screen Equipment (Health and Safety) Regulations 1992, Amended 2002
Item | Description | Comments | Unit | Small building (<1,000m2) | Medium Building (1,000 - 10,000m2) | Large building (>10,000m2) | Additional comments
14.01 | Display Screen Equipment (Health and Safety) Regulations 1992, Amended 2002 | Management issue - not applicable | Intentionally Blank | Intentionally Blank | Intentionally Blank | Intentionally Blank | Intentionally Blank
17.0 - Oil Storage - The Water Environment (Scotland) Regulations 2006
Item | Description | Comments | Unit | Small building (<1,000m2) | Medium Building (1,000 - 10,000m2) | Large building (>10,000m2) | Additional comments
17.01 | Oil Storage - The Water Environment (Scotland) Regulations 2006 | Build new bund to suit storage tank | No. | 8282 | 14585 | 24597 | Intentionally Blank
20.0 - Sterilisation (SHTM 2010)
Item | Description | Comments | Unit | Small building (<1,000m2) | Medium Building (1,000 - 10,000m2) | Large building (>10,000m2) | Additional comments
20.01 | Sterilisation (SHTM 2010) | Provide new sterilising equipment | No. | 8881 | 8881 | 8881 | Review with Estates Dept - specialist item
21.0 - Firecode, Alarm and Detection Systems (incorporating SHTM 82)
Item | Description | Comments | Unit | Small building (<1,000m2) | Medium Building (1,000 - 10,000m2) | Large building (>10,000m2) | Additional comments
21.01 | Alarm and Detection | Annual testing of all fire alarm and detection equipment | No. | 620 | 1238 | 2474 | Intentionally Blank
21.01 | Alarm and Detection | Upgrade existing installation to current standard, for example L1 | m2 (based on GIA) | 46 | 49 | 52 | Intentionally Blank
24.0 - Firecode - General (incorporating SHTM 80-86 excluding SHTM 82)
Item | Description | Comments | Unit | Small building (<1,000m2) | Medium Building ( 1,000 - 10,000m2) | Large building (>10,000m2) | Additional comments
24.01 | Containment | Provide detailed fire compartmentation survey | m2 (based on GIA) | 2.4 | 1.2 | 1.2 | Intentionally Blank
24.01 | Containment | Make good breaches in compartment walls (where area known) | m2 | 231 | 231 | 231 | Intentionally Blank
24.01 | Containment | Make good breaches in compartment walls (where extent unknown) | m2 (based on GIA) | 10.1 | 6.4 | 5.2 | Intentionally Blank
24.02 | Escape lighting | Provide annual emergency lighting test certificate | No. | 620 | 1238 | 2474 | Intentionally Blank
24.02 | Escape lighting | Upgrade emergency lighting | m2 (based on GIA) | 28 | 28 | 28 | Intentionally Blank
24.03 | Signage | Providing adequate exit signage to all exits - cost needed per exit | m2 (based on GIA) | 6.9 | 6.9 | 6.9 | Intentionally Blank
24.04 | Manual fire fighting equipment | management issue - not applicable | Intentionally Blank | Intentionally Blank | Intentionally Blank | Intentionally Blank | Intentionally Blank
24.05 | Sprinklers/ automatic fire extinguisher system | Provide sprinkler systems | m2 (based on GIA) | 117 | 55 | 54 | Intentionally Blank
24.06 | Textiles and furniture | management issue - not applicable | Intentionally Blank | Intentionally Blank | Intentionally Blank | Intentionally Blank | Intentionally Blank
24.07 | Fire brigade access and so on | Wide variety of potential issues - review with Estates Dept/ main schedule of rates | Intentionally Blank | Intentionally Blank | Intentionally Blank | Intentionally Blank | Intentionally Blank
24.08 | Lightning conductors | Upgrade lightning protection system | m2 (based on GIA) | 5.1 | 5.1 | 5.1 | Intentionally Blank
24.08 | Lightning conductors | Annual inspection and testing of all lightning protection installations | No. | 1238 | 3092 | 4945 | Intentionally Blank
24.09 | Fire doors | Upgrade fire doors - FD30 | No. | 2108 | 2108 | 2108 | Intentionally Blank
24.09 | Fire doors | Upgrade fire doors - FD30 glazed | No. | 3057 | 3057 | 3057 | Intentionally Blank
24.09 | Fire doors | Upgrade fire doors - FD60 | No. | 2418 | 2418 | 2418 | Intentionally Blank
24.09 | Fire doors | Upgrade fire doors - FD60 glazed | No. | 3695 | 3695 | 3695 | Intentionally Blank
24.10 | Storage of flammable substances | Wide variety of potential issues - review with Estates Dept/ main schedule of rates | Intentionally Blank | Intentionally Blank | Intentionally Blank | Intentionally Blank | Intentionally Blank
24.11 | Fire exits | Upgrade final fire exit door, plus new panic bar ironmongery - cost per door | No. | 4026 | 4026 | 4026 | Intentionally Blank
24.12 | Fire hydrants | Wide variety of potential issues - review with Estates Dept/ main schedule of rates | Intentionally Blank | Intentionally Blank |  | Intentionally Blank | Intentionally Blank
24.99 | Other | Provision of fire risk assessment | No. | 1024 | 2602 | 5073 | Intentionally Blank
24.99 | Other | Allow provisional sum for making compliant where no FRA in place | m2 (based on GIA) | 14 | 21 | 27 | Intentionally Blank
26.0 - Patient bearing equipment (including slings)
Item | Description | Comments | Unit | Small building (<1,000m2) | Medium Building (1,000 - 10,000m2) | Large building (>10,000m2) | Additional comments
26.01 | Patient Bearing Equipment (Including Slings) | management issue - not applicable | Intentionally Blank | Intentionally Blank | Intentionally Blank | Intentionally Blank | Intentionally Blank
27.0 - Working At Height Regulations 2005
Item | Description | Comments | Unit | Small building (<1,000m2) | Medium Building (1,000 - 10,000m2) | Large building (>10,000m2) | Additional comments
27.01 | Restricted access | management issue - not applicable | Intentionally Blank | Intentionally Blank | Intentionally Blank | Intentionally Blank | Intentionally Blank
27.02 | Barriers | Install new edge protection - linear metre rate | m | 104 | 104 | 104 | Intentionally Blank
27.03 | Anchor points | Testing of existing anchor points - likely to be existing contract in place | Intentionally Blank | Intentionally Blank | Intentionally Blank | Intentionally Blank | Intentionally Blank
27.04 | Signage | Warning signage to roofs - cost per sign | No. | 33 | 33 | 33 | Intentionally Blank
28.0 - Statutory/ mandatory training
Item | Description | Comments | Unit | Small building (<1,000m2) | Medium Building (1,000 - 10,000m2) | Large building (>10,000m2) | Additional comments
28.01 | Statutory/ mandatory training | management issue - not applicable | Intentionally Blank | Intentionally Blank | Intentionally Blank | Intentionally Blank | Intentionally Blank
29.0 - Gas Safety (Installation and Use) Regulations 1998
Item | Description | Comments | Unit | Small building (<1,000m2) | Medium Building (1,000 - 10,000m2) | Large building (>10,000m2) | Additional comments
29.01 | Gas Safety (Installation and Use) Regulations 1998 | Provision of 'Gas Safe' certification for all gas fired equipment - cost per building | No. | 1024 | 1366 | 2602 | Intentionally Blank
30.0 - Contractors (control of) - (The Management of Health and Safety at Work Regulations 1999)
Item | Description | Comments | Unit | Small building (<1,000m2) | Medium Building (1,000 - 10,000m2) | Large building (>10,000m2) | Additional comments
30.01 | Contractors (control of) - (The Management of Health and Safety at Work Regulations 1999) | management issue - not applicable | Intentionally Blank | Intentionally Blank | Intentionally Blank | Intentionally Blank | Intentionally Blank
31.0 - Decontamination of equipment
Item | Description | Comments | Unit | Small building (<1,000m2) | Medium Building (1,000 - 10,000m2) | Large building (>10,000m2) | Additional comments
31.01 | Decontamination of equipment | Specialist item - likely to be existing contract in place | Intentionally Blank | Intentionally Blank | Intentionally Blank | Intentionally Blank | Intentionally Blank
32.0 - Contingency Planning (Civil Contingencies Act 2004)
Item | Description | Comments | Unit | Small building (<1,000m2) | Medium Building (1,000 - 10,000m2) | Large building (>10,000m2) | Additional comments
32.01 | Contingency Planning (Civil Contingencies Act 2004) | management issue - not applicable | Intentionally Blank | Intentionally Blank | Intentionally Blank | Intentionally Blank | Intentionally Blank
33.0 - Slips, trips and falls - floor hazards
Item | Description | Comments | Unit | Small building (<1,000m2) | Medium Building (1,000 - 10,000m2) | Large building (>10,000m2) | Additional comments
33.01 | Slips, trips and falls - floor hazards | Replace existing floor coverings with entrance barrier matting | m2 | 139 | 139 | 139 | Intentionally Blank
33.01 | Slips, trips and falls - floor hazards | Replace existing floor coverings with non slip vinyl | m2 | 98 | 98 | 98 | Intentionally Blank
33.01 | Slips, trips and falls - floor hazards | Replace existing floor coverings with new carpet | m2 | 92 | 92 | 92 | Intentionally Blank
34.0 - Infection Control - HAI Level 4
Item | Description | Comments | Unit | Small building (<1,000m2) | Medium Building (1,000 - 10,000m2) | Large building (>10,000m2) | Additional comments
34.01 | Finishes and floors, walls, ceilings, doors, windows, fixtures and fittings | Replace non compliant floor finishes, for example carpets to clinical areas | m2 | 98 | 98 | 98 | Intentionally Blank
34.01 | Finishes and floors, walls, ceilings, doors, windows, fixtures and fittings | Replace non compliant ceilings | m2 | 92 | 92 | 92 | Intentionally Blank
34.01 | Finishes and floors, walls, ceilings, doors, windows, fixtures and fittings | Replace non compliant base units/ worktops | m | 642 | 642 | 642 | Intentionally Blank
34.01 | Finishes and floors, walls, ceilings, doors, windows, fixtures and fittings | Replace non compliant base unit worktops | m | 125 | 125 | 125 | Intentionally Blank
34.01 | Finishes and floors, walls, ceilings, doors, windows, fixtures and fittings | Replace non compliant wall units | m | 429 | 429 | 429 | Intentionally Blank
34.02 | Space around beds and isolation rooms | Wide variety of potential issues - review with Estates Dept/ main schedule of rates | Intentionally Blank | Intentionally Blank | Intentionally Blank | Intentionally Blank | Intentionally Blank
34.03 | Provision of hand-wash basins, liquid soap dispensers, paper towels and alcohol gel dispensers | Replace existing non compliant sanitary fittings with clinical WHB | No. | 2583 | 2583 | 2583 | Intentionally Blank
34.03 | Provision of hand-wash basins, liquid soap dispensers, paper towels and alcohol gel dispensers | Replace existing non compliant sanitary fittings with clinical WC | No. | 3217 | 3217 | 3217 | Intentionally Blank
34.03 | Provision of hand-wash basins, liquid soap dispensers, paper towels and alcohol gel dispensers | Replace existing non compliant sanitary fittings with clinical trough | No. | 2583 | 2583 | 2583 | Intentionally Blank
34.04 | Provision of facilities for decontamination | Specialist item - likely to be existing contract in place | Intentionally Blank | Intentionally Blank | Intentionally Blank | Intentionally Blank | Intentionally Blank
34.05 | Engineering services | Wide variety of potential issues - review with Estates Dept/ main Schedule of Rates | Intentionally Blank | Intentionally Blank | Intentionally Blank | Intentionally Blank | Intentionally Blank
34.06 | Storage | Wide variety of potential issues - review with Estates Dept/ main Schedule of Rates | Intentionally Blank | Intentionally Blank | Intentionally Blank | Intentionally Blank | Intentionally Blank
34.07 | Laundry and linen services | Wide variety of potential issues - review with Estates Dept/ main Schedule of Rates | Intentionally Blank | Intentionally Blank | Intentionally Blank | Intentionally Blank | Intentionally Blank
35.0 - Steam systems
Item | Description | Comments | Unit | Small building (<1,000m2) | Medium Building (1,000 - 10,000m2) | Large building (>10,000m2) | Additional comments
35.01 | Steam systems | Wide variety of potential issues - review with Estates Dept/ main Schedule of Rates | Intentionally Blank | Intentionally Blank | Intentionally Blank | Intentionally Blank | Intentionally Blank
36.0 - Dangerous Substances and Explosive Atmospheres Regulations 2002
Item | Description | Comments | Unit | Small building (<1,000m2) | Medium Building (1,000 - 10,000m2) | Large building (>10,000m2) | Additional comments
36.01 | Dangerous Substances and Explosive Atmospheres Regulations 2002 | Wide variety of potential issues - review with Estates Dept/ main Schedule of Rates | Intentionally Blank | Intentionally Blank | Intentionally Blank | Intentionally Blank | Intentionally Blank
37.0 - Washer Disinfectors (SHTM 2030: Decontamination Guidance)
Item | Description | Comments | Unit | Small building (<1,000m2) | Medium Building (1,000 - 10,000m2) | Large building (>10,000m2) | Additional comments
37.01 | Washer Disinfectors | Specialist item - likely to be existing contract in place | Intentionally Blank | Intentionally Blank | Intentionally Blank | Intentionally Blank | Intentionally Blank
38.0 - Window security
Item | Description | Comments | Unit | Small building (<1,000m2) | Medium Building (1,000 - 10,000m2) | Large building (>10,000m2) | Additional comments
38.01 | Window security | Fit internal locks to existing windows - cost per window | No. | 187 | 187 | 187 | Intentionally Blank
39.0 - Suicide risk
Item | Description | Comments | Unit | Small building (<1,000m2) | Medium Building (1,000 - 10,000m2) | Large building (>10,000m2) | Additional comments
39.01 | Suicide risk | Fit restrictors to existing windows | No. | 187 | 187 | 187 | Intentionally Blank
39.01 | Suicide risk | Fit anti lig ironmongery to existing windows | No. | 249 | 249 | 249 | Intentionally Blank
39.01 | Suicide risk | Other anti suicide measures - wide variety of potential issues - review with Estates Dept/ main Schedule of Rates | Intentionally Blank | Intentionally Blank | Intentionally Blank | Intentionally Blank | Intentionally Blank
40.0 - Asbestos 2014 - Control of Asbestos at Work Regulations 2012
Item | Description | Comments | Unit | Small building (<1,000m2) | Medium Building (1,000 - 10,000m2) | Large building (>10,000m2) | Additional comments
40.01 | Is there an asbestos register? | Provide R&D asbestos survey | m2 | 0.9 | 1.1 | 1.1 | Intentionally Blank
40.02 | Encapsulation | Specialist item - likely to be existing contract in place | Intentionally Blank | Intentionally Blank | Intentionally Blank | Intentionally Blank | Intentionally Blank
40.03 | Removal | Specialist item - likely to be existing contract in place | Intentionally Blank | Intentionally Blank | Intentionally Blank | Intentionally Blank | Intentionally Blank
41.0 - Pressure Systems 2014
Item | Description | Comments | Unit | Small building (<1,000m2) | Medium Building (1,000 - 10,000m2) | Large building (>10,000m2) | Additional comments
41.01 | Written Scheme of Examination | Annual inspection | No. | 3092 | 3092 | 3092 | Intentionally Blank
41.02 | Automatic controls | Upgrade controls and flanges, and replace high pressure pipework | m2 (based on GIA) | 6.4 | 6.4 | 6.4 | Intentionally Blank
41.03 | Pressure alarms | Upgrade alarm panel | Intentionally Blank | 8881 | 8881 | 8881 | Intentionally Blank
41.04 | Fire proofing of rooms | Provide detailed fire compartmentation survey | m2 (based on GIA) | 2.4 | 1.2 | 1.2 | Intentionally Blank
41.04 | Fire proofing of rooms | Make good breaches in compartment walls (where area known) | m2 | 231 | 231 | 231 | Intentionally Blank
41.04 | Fire proofing of rooms | Upgrade fire doors - FD60 | No. | 2418 | 2418 | 2418 | Intentionally Blank
41.05 | Safe discharge area | Provide safe discharge pipe | Intentionally Blank | 620 | 620 | 620 | Intentionally Blank
41.06 | Schematic diagrams | Prepare schematic diagram | Intentionally Blank | 620 | 1238 | 2474 | Intentionally Blank
42.0 - Water 2014 (incorporating SHTM 04-01 and HSE Guidance Document HSG 274 Part 1 to 3 and L8) and SHTM 03-02: Heat Emitters
Item | Description | Comments | Unit | Small building (<1,000m2) | Medium Building (1,000 - 10,000m2) | Large building (>10,000m2) | Additional comments
42.01 | Supply | Wide variety of potential issues - review with Estates Dept/ main Schedule of Rates | Intentionally Blank | Intentionally Blank | Intentionally Blank | Intentionally Blank | Intentionally Blank
42.02 | CW tank storage and distribution | Upgrade cold water storage tanks | m2 (based on GIA) | 8.1 | 8.1 | 8.1 | Intentionally Blank
42.03 | Flushing provision | Flushing hot and cold outlets daily | No. | 311 | 620 | 2474 | Intentionally Blank
42.04 | CW outlet temperature | Testing cold water outlets weekly and ensure cold water delivery temperature is below 20°C | No. | 311 | 620 | 2474 | Intentionally Blank
42.05 | HW tank storage and distribution | Ensuring hot water is stored at least at 60°C | No. | 311 | 620 | 2474 | Intentionally Blank
42.06 | Calorifier storage and flow temperature | Included in item 42.05. | Intentionally Blank | Intentionally Blank | Intentionally Blank | Intentionally Blank | Intentionally Blank
42.07 | Continuous distribution temperature | Secondary return circuit and pump where necessary to ensure hot water delivery times < 2 mins | m2 (based on GIA) | 5.2 | 5.2 | 5.2 | Intentionally Blank
42.08 | HW outlet temperature | Testing cold water outlets weekly and ensure hot water delivery temperature is above 50°C | No. | 311 | 620 | 2474 | Intentionally Blank
42.09 | Blended water pipework | Ensuring maximum run of blended hot water pipework is such that the required mixed temperature, at the furthest outlet, should be reached within 30 seconds | No. | 311 | 620 | 2474 | Intentionally Blank
42.10 | Dead legs | Removing dead legs from water distribution pipework | No. | 620 | 620 | 620 | Intentionally Blank
42.11 | Circulation pumps | New circulation pump | m2 (based on GIA) | 3.4 | 3.4 | 3.4 | Intentionally Blank
42.12 | Non-return valves | Fitting non-return valves to prevent backflow of hot water to the cold feed | No. | 311 | 620 | 2474 | Intentionally Blank
42.13 | System flushing provision | Included in item 42.03 | Intentionally Blank | Intentionally Blank | Intentionally Blank | Intentionally Blank | Intentionally Blank
42.14 | Calorifier open vent | Ensuring open vent is directed into a separate tundish/drain which discharges at a safe and visible point and acts as a warning pipe. Discharge into the cold water storage tank is not advised | No. | 311 | 620 | 2474 | Intentionally Blank
42.15 | Calorifier temp. control system | Ensuring hot water is stored at least at 60°C | No. | 311 | 620 | 2474 | Intentionally Blank
42.16 | Temperature monitoring | Carrying out weekly temperature checks of hot and cold water storage systems and hot and cold water outlets on index runs | No. | 311 | 620 | 2474 | Intentionally Blank
42.17 | Ductwork system | Carrying out regular inspections and cleaning of ductwork systems to minimise legionella risk | m2 (based on GIA) | 1.4 | 1.4 | 1.4 | Intentionally Blank
42.18 | Steam humidification | Wide variety of potential issues - review with Estates Dept/ main Schedule of Rates | Intentionally Blank | Intentionally Blank | Intentionally Blank | Intentionally Blank | Intentionally Blank
42.19 | Water bylaws | Wide variety of potential issues - review with Estates Dept/ main Schedule of Rates | Intentionally Blank | Intentionally Blank | Intentionally Blank | Intentionally Blank | Intentionally Blank
42.20 | Outlet temperature | Cost for fitting thermostatic valves to all outlets not intended for food hygiene and decontamination purposes | m2 (based on GIA) | 10.8 | 9 | 7.3 | Intentionally Blank
42.21 | Outlet physical precautions | Providing thermostatic mixing devices on hot water outlets. Hot water outlets provided for food hygiene and decontamination purposes should be provided with a notice 'Caution - Very Hot Water' | m2 (based on GIA) | 10.8 | 9 | 7.3 | Intentionally Blank
42.22 | Lower maximum safe temperature | Ensuring hot water is stored at least at 60°C | No. | 330 | 658 | 2625 | Intentionally Blank
42.23 | Thermostatic Mixer - Fail safe | Ensuring all TMVs are regularly serviced and fail-safe tested | No. | 330 | 658 | 2625 | Intentionally Blank
42.24 | Maximum surface temperature (radiators) | Providing LST radiators in all assisted toilets to prevent accidental scalding - cost per radiator | No. | 638 | 638 | 638 | Intentionally Blank
42.25 | Exposed pipework | Ensuring exposed LTHW distribution pipework is insulated to prevent accidental scalding | m2 (based on GIA) | 10.4 | 10.4 | 10.4 | Intentionally Blank
42.99 | Other | Cost for providing a legionella risk assessment | No. | 1969 | 3280 | 6556 | Intentionally Blank
43.0 - Confined Spaces 2014 and SHTM 08-07: Confined Spaces, Policies and Procedures
Item | Description | Comments | Unit | Small building (<1,000m2) | Medium Building (1,000 - 10,000m2) | Large building (>10,000m2) | Additional comments
43.01 | Confined Spaces Regulations 1997 | Wide variety of potential issues - review with Estates Dept/ main Schedule of Rates | Intentionally Blank | Intentionally Blank | Intentionally Blank | Intentionally Blank | Intentionally Blank
44.0 - Heating and Ventilation 2014
Item | Description | Comments | Unit | Small building (<1,000m2) | Medium Building (1,000 - 10,000m2) | Large building (>10,000m2) | Additional comments
44.01 | Ventilation in Healthcare Premises (incorporating SHTM 03-01 Heating and Ventilating Systems Guidance) | Upgrade ventilation system | m2 (based on GIA) | 111 | 184 | 290 | Intentionally Blank
45.0 - Medical Gases 2014
Item | Description | Comments | Unit | Small building (<1,000m2) | Medium Building (1,000 - 10,000m2) | Large building (>10,000m2) | Additional comments
45.01 | Medical Gas Pipeline Systems (MGPS) (Incorporating SHTM 02-01) | Upgrade medical gas systems | m2 (based on GIA) | 20.7 | 20.7 | 31.8 | Intentionally Blank
46.0 - Electrical Bedhead Services 2014
Item | Description | Comments | Unit | Small building (<1,000m2) | Medium Building (1,000 - 10,000m2) | Large building (>10,000m2) | Additional comments
46.01 | Electrical Bedhead Services 2014 | Upgrade - cost per bed | No. | 5329 | 5329 | 5329 | Intentionally Blank
47.0 - Electrical - Electrical Safety Guidance for High Voltage (incorporating SHTM 06-01 and 03 Electrical Safety Guidance)
Item | Description | Comments | Unit | Small building (<1,000m2) | Medium Building (1,000 - 10,000m2) | Large building (>10,000m2) | Additional comments
47.01 | Electrical System protected from unauthorised use | Wide variety of potential issues - review with Estates Dept/ main Schedule of Rates | Intentionally Blank | Intentionally Blank | Intentionally Blank | Intentionally Blank | Intentionally Blank
47.02 | Protected from damage | Wide variety of potential issues - review with Estates Dept/ main Schedule of Rates | Intentionally Blank | Intentionally Blank | Intentionally Blank | Intentionally Blank | Intentionally Blank
47.03 | Emergency lighting available | Upgrade light fitting to HV plant room | No. | 444 | 444 | 444 | Intentionally Blank
47.04 | Earth bonding | Provide earth bonding to HV plant room | No. | 929 | 1856 | 4945 | Intentionally Blank
47.05 | Signage | Provide signage | No. | 125 | 125 | 125 | Intentionally Blank
48.0 - Electrical - Electrical Safety Guidance for Low Voltage (incorporating SHTM 06-01 and 02 Electrical Safety Guidance)
Item | Description | Comments | Unit | Small building (<1,000m2) | Medium Building (1,000 - 10,000m2) | Large building (>10,000m2) | Additional comments
48.01 | Electrical System protected from unauthorised use | Wide variety of potential issues - review with Estates Dept/ main Schedule of Rates | Intentionally Blank | Intentionally Blank | Intentionally Blank | Intentionally Blank | Intentionally Blank
48.02 | Protected from damage | Wide variety of potential issues - review with Estates Dept/ main Schedule of Rates | Intentionally Blank | Intentionally Blank | Intentionally Blank | Intentionally Blank | Intentionally Blank
48.03 | Emergency lighting | Upgrade light fitting to LV plant room | No. | 444 | 444 | 444 | Intentionally Blank
48.04 | Signage | Provide signage | No. | 125 | 125 | 125 | Intentionally Blank
48.05 | Earth bonding | Provide earth bonding to LV plant room | No. | 929 | 1856 | 4945 | Intentionally Blank
49.0 - Electrical - Electrical Services Supply and Distribution 2014 (incorporating SHTM 06-01)
Item | Description | Comments | Unit | Small building (<1,000m2) | Medium Building (1,000 - 10,000m2) | Large building (>10,000m2) | Additional comments
49.01 | Electrical Services (abatement of) (incorporating SHTM 06-01) | Wide variety of potential issues - review with Estates Dept/ main Schedule of Rates | Intentionally Blank | Intentionally Blank | Intentionally Blank | Intentionally Blank | Intentionally Blank
49.02 | Standby generator (Hospitals) | Upgrade/ provide generator | No. | 26638 | 82572 | 138508 | Intentionally Blank
49.03 | Emergency lighting | Upgrade light fitting to generator room | No. | 444 | 444 | 444 | Intentionally Blank
49.04 | Signage | Provide signage | No. | 125 | 125 | 125 | Intentionally Blank
49.05 | Earth bonding | Provide earth bonding to generator room | No. | 929 | 1856 | 4945 | Intentionally Blank
50.0 - Equality Act (2010)
Item | Description | Comments | Unit | Small building (<1,000m2) | Medium Building (1,000 - 10,000m2) | Large building (>10,000m2) | Additional comments
50.01 | Car parking | Reline car park to form accessible bays - per space | No. | 169 | 169 | 169 | Intentionally Blank
50.01 | Car parking | Provide clear signage to bays | No. | 275 | 275 | 275 | Intentionally Blank
50.01 | Car parking | Replace existing kerbs with drop kerbs | m | 72 | 72 | 72 | Intentionally Blank
50.01 | Car parking | Provide tactile warnings to existing change of levels | m2 | 72 | 72 | 72 | Intentionally Blank
50.02 | Toilets | Replace existing WC suite with fully accessible suite | No. | 3392 | 3392 | 3392 | Intentionally Blank
50.02 | Toilets | Increase standard sized WC to appropriately sized accessible cubicle | No. | 5434 | 5434 | 5434 | Includes new DocM pack
50.02 | Toilets | Rehang existing door to face outwards | No. | 275 | 275 | 275 | Intentionally Blank
50.02 | Toilets | Widen existing door opening and fit new door | No. | 2728 | 2728 | 2728 | Intentionally Blank
50.03 | Visual issues | Redecorate to allow differentiation between walls, doors, skirtings and so on | m2 (based on GIA) | 26 | 26 | 26 | Intentionally Blank
50.04 | Ramping and handrails | Widen existing external ramps, including relocating existing handrails | m2 | 417 | 417 | 417 | Intentionally Blank
50.04 | Ramping and handrails | Form new external concrete ramp | m2 | 270 | 270 | 270 | Intentionally Blank
50.04 | Ramping and handrails | Install suitable handrails/ balustrade to existing external ramp | m2 | 216 | 216 | 216 | Intentionally Blank
50.04 | Ramping and handrails | Renew surface to existing external ramp | m2 | 287 | 287 | 287 | Intentionally Blank
50.04 | Ramping and handrails | Widen existing internal ramps, including relocating existing handrails | m2 | 317 | 317 | 317 | Intentionally Blank
50.04 | Ramping and handrails | Form new internal ramp | m2 | 181 | 181 | 181 | Intentionally Blank
50.04 | Ramping and handrails | Install suitable handrails to existing internal ramp | m | 72 | 72 | 72 | Intentionally Blank
50.04 | Ramping and handrails | Renew floor covering to existing internal ramp | m2 | 98 | 98 | 98 | Intentionally Blank
50.05 | Entrances and doors | Improve signage and colour differentiation to main entrance to ensure entrance is distinguishable from façade | No. | 1024 | 1024 | 1024 | Intentionally Blank
50.05 | Entrances and doors | Replace entrance door with new door suitable for all users, and level/ flush threshold (assumes it will incorporate an adjoining glazed panel) | No. | 10211 | 10211 | 10211 | Intentionally Blank
50.06 | Reception areas | install new lowered reception desk | m | 749 | 749 | 749 | Intentionally Blank
50.06 | Reception areas | install new induction loop | No. | 684 | 684 | 684 | Intentionally Blank
50.07 | Signage | Wide variety of potential issues - review with Estates Dept/ main Schedule of Rates | Intentionally Blank | Intentionally Blank | Intentionally Blank | Intentionally Blank | Intentionally Blank
50.08 | Horizontal and vertical circulation | Replace inappropriately sized lift shaft and car | No. | 40831 | 40831 | 40831 | Intentionally Blank
50.08 | Horizontal and vertical circulation | Overhaul lift car to provide support rails, mirror, easy reach controls and visual/ tactile information | No. | 13611 | 13611 | 13611 | Intentionally Blank
50.08 | Horizontal and vertical circulation | Provide voice floor indication | No. | 4767 | 4767 | 4767 | Intentionally Blank
50.08 | Horizontal and vertical circulation | Provide floor level indicators inside lift, and at landing level (cost per storey) | No. | 139 | 139 | 139 | Intentionally Blank
50.08 | Horizontal and vertical circulation | Install clearly identifiable nosings to all stairs | No. | 75 | 75 | 75 | Intentionally Blank
50.08 | Horizontal and vertical circulation | Provide suitable handrails to both sides of stairs | m2 | 216 | 216 | 216 | Intentionally Blank
50.09 | Internal Space | Wide variety of potential issues - review with Estates Dept/ main Schedule of Rates | Intentionally Blank | Intentionally Blank | Intentionally Blank | Intentionally Blank | Intentionally Blank
50.10 | Evacuation Management Plan | Cost for preparation of an evacuation management plan | No. | 1238 | 2474 | 4945 | Intentionally Blank
50.99 | Other | Cost for carrying out a full access audit | No. | 1238 | 2474 | 6180 | Intentionally Blank
51.0 - Radiation Protection
Item | Description | Comments | Unit | Small building (<1,000m2) | Medium Building (1,000 - 10,000m2) | Large building (>10,000m2) | Additional comments
51.01 | Additional walls (normal or lead lined) | Upgrade walls - cost per m2 | m2 | 373 | 373 | 373 | Intentionally Blank
51.02 | Additional doors (normal or lead lined) | Upgrade doors - cost per door | No. | 4945 | 4945 | 4945 | Intentionally Blank
51.03 | Local exhaust ventilation and associated ducting | Upgrade/ provide ventilation - packaged units | No. | 2842 | 2842 | 2842 | Intentionally Blank
51.04 | Additional or higher rated power supply/ junction boxes | Upgrade power supply | No. | 4945 | 9271 | 24719 | Intentionally Blank
51.05 | Additional waste water/ sewerage treatment facilities isolated from mains | Wide variety of potential issues - review with Estates Dept/ main Schedule of Rates | Intentionally Blank | Intentionally Blank | Intentionally Blank | Intentionally Blank | Intentionally Blank
51.06 | Creation of restricted access zones | Wide variety of potential issues - review with Estates Dept/ main Schedule of Rates | Intentionally Blank | Intentionally Blank | Intentionally Blank | Intentionally Blank | Intentionally Blank
51.07 | Alterations to glass in functional unit | Wide variety of potential issues - review with Estates Dept/ main Schedule of Rates | Intentionally Blank | Intentionally Blank | Intentionally Blank | Intentionally Blank | Intentionally Blank
51.08 | Additional security | Wide variety of potential issues - review with Estates Dept/ main Schedule of Rates | Intentionally Blank | Intentionally Blank | Intentionally Blank | Intentionally Blank | Intentionally Blank
51.09 | Lining of rooms or screening built into walls | Wide variety of potential issues - review with Estates Dept/ main Schedule of Rates | Intentionally Blank | Intentionally Blank | Intentionally Blank | Intentionally Blank | Intentionally Blank
51.10 | Additional change/ storage facilities for personal protective equipment | Wide variety of potential issues - review with Estates Dept/ main Schedule of Rates | Intentionally Blank | Intentionally Blank | Intentionally Blank | Intentionally Blank | Intentionally Blank