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SHTM 02-01 Part A.01 - Form A1


MGPS test summary sheet - Form A1
	Healthcare organisation/ facility:
	enter text	Date:
	enter a date	Project ref:
	enter text

Carcass tests
	System
	SHTM test abbreviation*
	Form
	CSO ()
	AP ()
	Date
	Start time
	Finish time
	Comments

	Labelling and marking
	CLM
	A2
	☐	☐	enter a date	enter text	enter text	enter text
	Sleeving and supports
	CSS
	A2
	☐	☐	enter a date	enter text	enter text	enter text
	Leakage test
	CLH
	A2
	☐	☐	enter a date	enter text	enter text	enter text
	Cross-connection test
	CCC
	A2
	☐	☐	enter a date	enter text	enter text	enter text
	Sectional completion certificate
	N/A
	A24
	☐	☐	enter a date	enter text	enter text	enter text

* Refer to SHTM 02-01 (Part B) - Appendix G for test abbreviations.

System tests
	Tests
	SHTM test abbreviation*
	Form
	CSO ()
	AP ()
	QC ()
	Date
	Start time
	Finish time
	Comments

	Pipeline pressure test
	SLX
	A3
	☐	☐	☐	enter a date	enter text	enter text	enter text
	Vacuum leakage test
	SLX
	A3
	☐	☐	☐	enter a date	enter text	enter text	enter text
	Leakage test (working gas)
	SLOV
	N/A
	☐	☐	☐	enter a date	enter text	enter text	enter text
	Area valve service unit (AVSU) - Zoning, closure and non-interchangeable screw thread (NIST) tests
	SZT
	A4
	☐	☐	☐	enter a date	enter text	enter text	enter text
	Lockable valve assembly (LVA) and line valve - Zoning, closure and NIST tests
	SZT
	A5
	☐	☐	☐	enter a date	enter text	enter text	enter text
	Pendant/ miscellaneous NIST connectors - Specificity and function tests
	N/A
	A6
	☐	☐	☐	enter a date	enter text	enter text	enter text
	Terminal unit schedule and cross-connection and gas specificity tests
	SCC (SCCV)
	A7
	☐	☐	☐	enter a date	enter text	enter text	enter text
	Terminal unit functional tests
	SFP (SFPV)
	A8
	☐	☐	☐	enter a date	enter text	enter text	enter text
	Plant performance, operation and siting - Liquid oxygen systems
	SSP (SSPV)
SSS (SSSV)
	A9
	☐	☐	☐	enter a date	enter text	enter text	enter text
	Plant performance, operation and siting - Medical gas manifold systems
	SSP (SSPV)
SSS (SSSV)
	A10
	☐	☐	☐	enter a date	enter text	enter text	enter text
	Plant performance, operation and siting - Medical air/ surgical air plant
	SSP (SSPV)
SSS (SSSV)
	A11
	☐	☐	☐	enter a date	enter text	enter text	enter text
	Plant performance, operation and siting - Synthetic air systems
	SSP (SSPV)
SSS (SSSV)
	A12
	☐	☐	☐	enter a date	enter text	enter text	enter text
	Plant performance, operation and siting - Medical vacuum plant
	SSP (SSPV)
SSS (SSSV)
	A13
	☐	☐	☐	enter a date	enter text	enter text	enter text
	Area alarm panel test
	SWA
	A14
	☐	☐	☐	enter a date	enter text	enter text	enter text
	Central alarm panel test
	SWA
	A15
	☐	☐	☐	enter a date	enter text	enter text	enter text
	Particulate matter tests
	SPO
	A16
	☐	☐	☐	enter a date	enter text	enter text	enter text
	Anaesthetic gas scavenging system (AGSS) tests
	SDT
SDF
	A17
	☐	☐	☐	enter a date	enter text	enter text	enter text
	Design review and as installed drawings (withdrawn)
	N/A
	A18
	N/A
	N/A
	N/A
	enter a date	enter text	enter text	enter text

* Refer to SHTM 02-01 (Part B) - Appendix G for test abbreviations.
Purity tests
	Tests
	SHTM test abbreviation*
	Form
	CSO ()
	AP ()
	QC ()
	Date
	Start time
	Finish time
	Comments

	Purging and filling
	SPF
	A19
	☐	☐	☐	enter a date	enter text	enter text	enter text
	Medical gas identification tests
	N/A
	A20
	☐	☐	☐	enter a date	enter text	enter text	enter text
	Medical gas quality tests
	N/A
	A21
	☐	☐	☐	enter a date	enter text	enter text	enter text

* Refer to SHTM 02-01 (Part B) - Appendix G for test abbreviations.



Completion
	System task
	Form
	CSO ()
	AP ()
	QC ()
	Date
	Start time
	Finish time
	Comments

	Medical gas pipeline system - Completion certificate
	A22
	☐	☐	☐	enter a date	enter text	enter text	enter text
	Medical gas permit-to-work form completed (if applicable)
	N/A
	☐	☐	☐	enter a date	enter text	enter text	enter text
	Construction labels removed
	N/A
	☐	☐	☐	enter a date	enter text	enter text	enter text

Sign off
This is to certify that the above tests have been carried out:
	Contract Supervising Officer (CSO)
	Name:
	enter text	Signature:
	enter text	Date:
	enter a date
	Authorised Person (AP) (MGPS)
	Name:
	enter text	Signature:
	enter text.	Date:
	enter a date
	Quality Controller (QC) (MGPS)
	Name:
	enter text	Signature:
	enter text	Date:
	enter a date
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