# MGPS test summary sheet - Form A1

| Healthcare organisation/ facility: | enter text | Date: | enter a date | Project ref: | enter text |
| --- | --- | --- | --- | --- | --- |

## Carcass tests

| System | SHTM test abbreviation* | Form | CSO () | AP () | Date | Start time | Finish time | Comments |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Labelling and marking | CLM | A2 | ☐ | ☐ | enter a date | enter text | enter text | enter text |
| Sleeving and supports | CSS | A2 | ☐ | ☐ | enter a date | enter text | enter text | enter text |
| Leakage test | CLH | A2 | ☐ | ☐ | enter a date | enter text | enter text | enter text |
| Cross-connection test | CCC | A2 | ☐ | ☐ | enter a date | enter text | enter text | enter text |
| Sectional completion certificate | N/A | A24 | ☐ | ☐ | enter a date | enter text | enter text | enter text |

* Refer to SHTM 02-01 (Part B) - Appendix G for test abbreviations.

## System tests

| Tests | SHTM test abbreviation* | Form | CSO () | AP () | QC () | Date | Start time | Finish time | Comments |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Pipeline pressure test | SLX | A3 | ☐ | ☐ | ☐ | enter a date | enter text | enter text | enter text |
| Vacuum leakage test | SLX | A3 | ☐ | ☐ | ☐ | enter a date | enter text | enter text | enter text |
| Leakage test (working gas) | SLOV | N/A | ☐ | ☐ | ☐ | enter a date | enter text | enter text | enter text |
| Area valve service unit (AVSU) - Zoning, closure and non-interchangeable screw thread (NIST) tests | SZT | A4 | ☐ | ☐ | ☐ | enter a date | enter text | enter text | enter text |
| Lockable valve assembly (LVA) and line valve - Zoning, closure and NIST tests | SZT | A5 | ☐ | ☐ | ☐ | enter a date | enter text | enter text | enter text |
| Pendant/ miscellaneous NIST connectors - Specificity and function tests | N/A | A6 | ☐ | ☐ | ☐ | enter a date | enter text | enter text | enter text |
| Terminal unit schedule and cross-connection and gas specificity tests | SCC (SCCV) | A7 | ☐ | ☐ | ☐ | enter a date | enter text | enter text | enter text |
| Terminal unit functional tests | SFP (SFPV) | A8 | ☐ | ☐ | ☐ | enter a date | enter text | enter text | enter text |
| Plant performance, operation and siting - Liquid oxygen systems | SSP (SSPV) SSS (SSSV) | A9 | ☐ | ☐ | ☐ | enter a date | enter text | enter text | enter text |
| Plant performance, operation and siting - Medical gas manifold systems | SSP (SSPV) SSS (SSSV) | A10 | ☐ | ☐ | ☐ | enter a date | enter text | enter text | enter text |
| Plant performance, operation and siting - Medical air/ surgical air plant | SSP (SSPV) SSS (SSSV) | A11 | ☐ | ☐ | ☐ | enter a date | enter text | enter text | enter text |
| Plant performance, operation and siting - Synthetic air systems | SSP (SSPV) SSS (SSSV) | A12 | ☐ | ☐ | ☐ | enter a date | enter text | enter text | enter text |
| Plant performance, operation and siting - Medical vacuum plant | SSP (SSPV) SSS (SSSV) | A13 | ☐ | ☐ | ☐ | enter a date | enter text | enter text | enter text |
| Area alarm panel test | SWA | A14 | ☐ | ☐ | ☐ | enter a date | enter text | enter text | enter text |
| Central alarm panel test | SWA | A15 | ☐ | ☐ | ☐ | enter a date | enter text | enter text | enter text |
| Particulate matter tests | SPO | A16 | ☐ | ☐ | ☐ | enter a date | enter text | enter text | enter text |
| Anaesthetic gas scavenging system (AGSS) tests | SDT SDF | A17 | ☐ | ☐ | ☐ | enter a date | enter text | enter text | enter text |
| Design review and as installed drawings (withdrawn) | N/A | A18 | N/A | N/A | N/A | enter a date | enter text | enter text | enter text |

* Refer to SHTM 02-01 (Part B) - Appendix G for test abbreviations.

## Purity tests

| Tests | SHTM test abbreviation* | Form | CSO () | AP () | QC () | Date | Start time | Finish time | Comments |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Purging and filling | SPF | A19 | ☐ | ☐ | ☐ | enter a date | enter text | enter text | enter text |
| Medical gas identification tests | N/A | A20 | ☐ | ☐ | ☐ | enter a date | enter text | enter text | enter text |
| Medical gas quality tests | N/A | A21 | ☐ | ☐ | ☐ | enter a date | enter text | enter text | enter text |

* Refer to SHTM 02-01 (Part B) - Appendix G for test abbreviations.

## Completion

| System task | Form | CSO () | AP () | QC () | Date | Start time | Finish time | Comments |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Medical gas pipeline system - Completion certificate | A22 | ☐ | ☐ | ☐ | enter a date | enter text | enter text | enter text |
| Medical gas permit-to-work form completed (if applicable) | N/A | ☐ | ☐ | ☐ | enter a date | enter text | enter text | enter text |
| Construction labels removed | N/A | ☐ | ☐ | ☐ | enter a date | enter text | enter text | enter text |

## Sign off

This is to certify that the above tests have been carried out:

| Contract Supervising Officer (CSO) | Name: | enter text | Signature: | enter text | Date: | enter a date |
| --- | --- | --- | --- | --- | --- | --- |
| Authorised Person (AP) (MGPS) | Name: | enter text | Signature: | enter text. | Date: | enter a date |
| Quality Controller (QC) (MGPS) | Name: | enter text | Signature: | enter text | Date: | enter a date |