# MGPS sectional completion certificate - Form A24

| Healthcare organisation/ facility: | enter text | Date: | enter a date | Project ref: | enter text |
| --- | --- | --- | --- | --- | --- |

Area: enter text

This is to certify that at the time of inspection the following inspections were carried out and deemed satisfactory.

## Sectional completion checks

| Item | Comments | Status |
| --- | --- | --- |
| Pipeline identification (Form A2) | enter text | pass/ fail/ N/A |
| Pipe penetrations (sleeves) (Form A2) | enter text | pass/ fail/ N/A |
| Pipe supports (Form A2) | enter text | pass/ fail/ N/A |
| Pipeline terminations and fittings (NISTs, valves) | enter text | pass/ fail/ N/A |
| Equipotential bonding | enter text | pass/ fail/ N/A |
| Alarm cabling (if applicable) | enter text | pass/ fail/ N/A |
| Leakage test (Form A2) | enter text | pass/ fail/ N/A |

Note: the status and completion of this area is based on the areas inspected. Any modification or damage to the installation after sign off, is the responsibility of others and will be subject to re-inspection.

## Sign off

| Test undertaken by: | Name: | enter text | Signature: | enter text | Date: | enter a date |
| --- | --- | --- | --- | --- | --- | --- |
| Test witnessed by: | Name: | enter text | Signature: | enter text | Date: | enter a date |