# Medical gas identification tests - Form A20

| Healthcare organisation/ facility: | enter text | Date: | enter a date | Project ref: | enter text |
| --- | --- | --- | --- | --- | --- |

This is to certify that medical gas systems have been tested in accordance with paragraphs 14.64 - 14.73 as follows (insert values for gases and tick for medical vacuum).

## Medical gas identification tests

| Gas and source | Paramagnetic oxygen analyser reading | Thermal conductivity (TC)/ infra-red instrument reading | Carbon dioxide detector tube indication if TC meter used | Vacuum probe () |
| --- | --- | --- | --- | --- |
| Oxygen from liquid or cylinders | enter value | enter value | enter value | ☐ |
| Oxygen from concentrator | enter value | enter value | enter value | ☐ |
| Nitrous oxide | enter value | enter value | enter value | ☐ |
| Nitrous oxide/oxygen (50% v/v) mixture | enter value | enter value | enter value | ☐ |
| Medical, surgical and dental air | enter value | enter value | enter value | ☐ |
| Synthetic air | enter value | enter value | enter value | ☐ |
| Medical vacuum | enter value | enter value | enter value | ☐ |
| Nitrogen shield gas | enter value | enter value | enter value | ☐ |

## Sign off

This is to certify that the above tests have been carried out:

| Test undertaken by: | Name: | enter text | Signature: | enter text | Date: | enter a date |
| --- | --- | --- | --- | --- | --- | --- |
| Test witnessed by: | Name: | enter text | Signature: | enter text | Date: | enter a date |