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SHTM 02-01 Part A.19 - Form A19


Purging and filling - Form A19
	Healthcare organisation/ facility:
	enter text	Date:
	enter a date	Project ref:
	enter text


This is to certify that the medical gas systems have been purged and filled with select gas in accordance with paragraphs 13.94 - 13.100 and/ or 13.101 - 13.102 as follows:
Purging and filling
	Action
	Oxygen
	Nitrous oxide
	Nitrous oxide/ oxygen (50% v/v)
	Medical air (4 bar)
	Surgical air (7 bar)
	Medical vacuum

	Special connectors/ cylinders removed from site
	yes/ no	yes/ no	yes/ no	yes/ no	yes/ no	N/A

	Filling with working gas
	yes/ no	yes/ no	yes/ no	yes/ no	yes/ no	yes/ no
	Purge pipeline via terminal units, gases to be vented to a safe place
	yes/ no	yes/ no	yes/ no	yes/ no	yes/ no	N/A

	Particulate tests performed and meet specification
	yes/ no	yes/ no	yes/ no	yes/ no	yes/ no	N/A

	Odour tests performed and specification met
	yes/ no	yes/ no	yes/ no	yes/ no	yes/ no	N/A

	All terminal unit prohibition or ‘danger do not use’ labels or tamperproof terminal unit blank plugs applied/ removed
	yes/ no	yes/ no	yes/ no	yes/ no	yes/ no	yes/ no

Sign off
This is to certify that the above tests have been carried out:
	Test undertaken by:
	Name:
	enter text	Signature:
	enter text	Date:
	enter a date
	Test witnessed by:
	Name:
	enter text	Signature:
	enter text	Date:
	enter a date
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