# Purging and filling - Form A19

| Healthcare organisation/ facility: | enter text | Date: | enter a date | Project ref: | enter text |
| --- | --- | --- | --- | --- | --- |

This is to certify that the medical gas systems have been purged and filled with select gas in accordance with paragraphs 13.94 - 13.100 and/ or 13.101 - 13.102 as follows:

## Purging and filling

| Action | Oxygen | Nitrous oxide | Nitrous oxide/ oxygen (50% v/v) | Medical air (4 bar) | Surgical air (7 bar) | Medical vacuum |
| --- | --- | --- | --- | --- | --- | --- |
| Special connectors/ cylinders removed from site | yes/ no | yes/ no | yes/ no | yes/ no | yes/ no | N/A |
| Filling with working gas | yes/ no | yes/ no | yes/ no | yes/ no | yes/ no | yes/ no |
| Purge pipeline via terminal units, gases to be vented to a safe place | yes/ no | yes/ no | yes/ no | yes/ no | yes/ no | N/A |
| Particulate tests performed and meet specification | yes/ no | yes/ no | yes/ no | yes/ no | yes/ no | N/A |
| Odour tests performed and specification met | yes/ no | yes/ no | yes/ no | yes/ no | yes/ no | N/A |
| All terminal unit prohibition or ‘danger do not use’ labels or tamperproof terminal unit blank plugs applied/ removed | yes/ no | yes/ no | yes/ no | yes/ no | yes/ no | yes/ no |

## Sign off

This is to certify that the above tests have been carried out:

| Test undertaken by: | Name: | enter text | Signature: | enter text | Date: | enter a date |
| --- | --- | --- | --- | --- | --- | --- |
| Test witnessed by: | Name: | enter text | Signature: | enter text | Date: | enter a date |