# Anaesthetic gas scavenging system (AGSS) tests - Form A17

| Healthcare organisation/ facility: | enter text | Date: | enter a date | Project ref: | enter text |
| --- | --- | --- | --- | --- | --- |

## System details

Location: enter text

Department serve: enter text

Manufacturer: enter text

Model reference: enter text

Pump duty (litres/minute): enter text

Duplex/ simplex: enter text

Number of remote switches: enter text

Remote switch voltage (V): enter text

## BS EN ISO 7396-2 tests

| Test | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Single flow rates | value | value | value | value | value | value | value | value |
| AGSS outlet point @ 1 kilo Pascal (kPa) (80 litres/min maximum) | value | value | value | value | value | value | value | value |
| AGSS outlet point @ 2 kPa (50 litres/min minimum) | value | value | value | value | value | value | value | value |

### AGSS pump settings

Pump pressure: enter text millibar (mbar)

Pump total flowrate: enter text litres/min

Pump design flowrate: enter text litres/min

## Sign off

This is to certify that the above tests have been carried out:

| Test undertaken by: | Name: | enter text | Signature: | enter text | Date: | enter a date |
| --- | --- | --- | --- | --- | --- | --- |
| Test witnessed by: | Name: | enter text | Signature: | enter text | Date: | enter a date |