# Area alarm panel test - Form A14

| Healthcare organisation/ facility: | enter text | Date: | enter a date | Project ref: | enter text |
| --- | --- | --- | --- | --- | --- |

## System details

Location: enter text

Manufacturer/ model: enter text

Alarm panel reference: enter text

## Area alarm panel tests

| Service | High pressure alarm | Low pressure alarm | Functional operation | Pass/ fail | Comments |
| --- | --- | --- | --- | --- | --- |
| choose an item | enter text | enter text | Sequence/ identification | pass/ fail | enter text |
| choose an item | enter text | enter text | Anti-confusion | pass/ fail | enter text |
| choose an item | enter text | enter text | Mute function (15 minutes) | pass/ fail | enter text |
| choose an item | enter text | enter text | System fault/ power failure | pass/ fail | enter text |
| choose an item | enter text | enter text | System fault/ open circuit | pass/ fail | enter text |
| choose an item | enter text | enter text | System fault/ short circuit | pass/ fail | enter text |
| choose an item | enter text | enter text | Audible reinstatement | pass/ fail | enter text |
| choose an item | enter text | enter text | Test function | pass/ fail | enter text |

## Sign off

This is to certify that the above tests have been carried out:

| Test undertaken by: | Name: | enter text | Signature: | enter text | Date: | enter a date |
| --- | --- | --- | --- | --- | --- | --- |
| Test witnessed by: | Name: | enter text | Signature: | enter text | Date: | enter a date |