# Plant performance, operation and siting - Synthetic air systems - Form A12

| Healthcare organisation/ facility: | enter text | Date: | enter a date | Project ref: | enter text |
| --- | --- | --- | --- | --- | --- |

## System details

Location: enter text

Manufacturer/ model: enter text

Type: Bulk liquid oxygen and nitrogen supply

Function: choose an item

## Performance, operation and siting checklist

| Item | Function/ operation | Pass/ fail | Comments |
| --- | --- | --- | --- |
| 1 | Power supplies provided | pass/ fail | enter text |
| 2 | General operation | pass/ fail | enter text |
| 3 | Leakage on joints | pass/ fail | enter text |
| 4 | Indication - system condition panel | pass/ fail | enter text |
| 5 | Central alarm panel | pass/ fail | enter text |
| 6 | Safety valve exhaust pipes discharge to a safe location | pass/ fail | enter text |
| 7 | Separation distances in compliance with Table 5.2 and British Compressed Gases Association (BCGA) CP36 | pass/ fail | enter text |
| 8 | Compound and blending station room provided with hazard/ warning signs in accordance with Appendix E of SHTM 02-01 Part A | pass/ fail | enter text |
| 9 | Access to and within compound and blending station room acceptable | pass/ fail | enter text |
| 10 | Lighting provided | pass/ fail | enter text |
| 11 | Plant schematic provided | pass/ fail | enter text |

## Sign off

This is to certify that the above tests have been carried out:

| Test undertaken by: | Name: | enter text | Signature: | enter text | Date: | enter text |
| --- | --- | --- | --- | --- | --- | --- |
| Test witnessed by: | Name: | enter text | Signature: | enter text | Date: | enter a date |