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SHTM 02-01 Part A.07 - Form A7


Terminal unit schedule, cross-connection and gas specificity tests - Form A7
	Healthcare organisation/ facility:
	enter text	Date:
	enter a date	Project ref:
	enter text


	Area/ department: enter text


Terminal unit schedule, cross-connection and gas specificity tests
	Service
	Room number/ name
	Quantity of terminal units
	Terminal unit fitting
	Gas specificity
	Cross-connection
	Comments

	Oxygen
	enter text	enter text	choose an item	pass/ fail	pass/ fail	enter text
	Nitrous oxide
	enter text	enter text	choose an item	pass/ fail	pass/ fail	enter text
	Nitrous oxide/oxygen (50% v/v) mixture
	enter text	enter text	choose an item	pass/ fail	pass/ fail	enter text
	Medical air 4 bar
	enter text	enter text	choose an item	pass/ fail	pass/ fail	enter text
	Surgical air 7 bar
	enter text	enter text	choose an item	pass/ fail	pass/ fail	enter text
	Medical vacuum
	enter text	enter text	choose an item	pass/ fail	pass/ fail	enter text
	Anaesthetic Gas Scavenging (AGS)
	enter text	enter text	choose an item	pass/ fail	pass/ fail	enter text

Sign off
This is to certify that the above tests have been carried out:
	Test undertaken by:
	Name:
	enter text	Signature:
	enter text	Date:
	enter a date
	Test witnessed by:
	Name:
	enter text	Signature:
	enter text	Date:
	enter a date
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